**EUV IMAGING SPECTROMETER**

**Hinode**

**EIS SOFTWARE NOTE No. 23**

Version 0.1

 17 March 2017

**Wavelength calibration of EIS spectra**

Peter Young

George Mason University

4400 University Drive

Fairfax, VA 22030

U.S.A.

pyoung9@gmu.edu

# Introduction

This document summarizes the steps required for deriving an accurate wavelength calibration for EIS spectra.

|  |  |
| --- | --- |
| **Routine** | **Purpose** |
| eis\_join\_windata | Join two windatas together in wavelength direction. |
| eis\_bin\_windata | Spatially bin windata in X and/or Y directions. |
| eis\_trim\_windata | Reduce the wavelength range of a windata. |
| eis\_combine\_sitstare\_windata | Join two sit-and-stare windatas in time direction. |
| eis\_shift\_spec | Interpolate all spatial pixels onto common wavelength scale. |
| eis\_fix\_windata | Remove data anomalies from windata. |
| eis\_sat\_windata | Set saturated data to missing when using /refill. |

# Instrumental effects

EIS does not have a wavelength calibration lamp, nor does it have access to photospheric lines that can be used as fiducial points. In addition the spectra move on the EIS CCDs during an orbit, and so using an off-limb spectrum to fix the calibration (assuming zero velocity) and then moving to an on-disk pointing does not work.

The key instrumental effects to bear in mind are:

1. The EIS spectra move on the CCD during the 98.5 minute orbit by about ± 60 km/s.
2. The wavelength separation between the SW and LW channels varies by up to 20 mÅ.
3. The EIS slit is not parallel to the CCD Y-axis, and so the lines’ centroids change with Y-position.

**Update history**

*Version 0.1* – first version.