LION/COSTEP

Level-2 Data Format Specification

for SOHO Archive

Prepared by :


Reinhold Müller-Mellin






Holger Boll






Ingo Elendt






Carsten Scharmberg






April 2000

Contact address :


Institut für Experimentelle und Angewandte Physik






Olshausenstr. 40, D-24118 Kiel, Germany






Reinhold Müller-Mellin






Phone: (49-431) 880 3227    Fax: (49-431) 85660






e-mail:   mueller-mellin@kernphysik.uni-kiel.de






Holger Boll






Phone: (49-431) 880 4729    Fax: (49-431) 85660






e-mail:   boll@kernphysik.uni-kiel.de





Carrsten Scharrmberg






Phone: (49-431) 880 2516    Fax: (49-431) 85660






e-mail:   scharrmberg@kernphysik.uni-kiel.de
1.
Data Product

The LION instrument (Low energy ION and Electron instrument) forms part of the COSTEP experiment (COmprehensive SupraThermal and Energetic Particle Analyser) within the CEPAC collaboration on bord of the SOHO spacecraft (SOlar and Heliospheric Observatory). For a detailed description of the SOHO mission and the COSTEP experiment see Solar Physics, 162, 1995.

The LION instrument produces scientific and housekeeping data at a constant rate of 49 bit/s or 4.3 megabit per day (Level Zero data). This data set is processed at the University of Kiel in two steps yielding Level 1 and Level 2 products. The Level 2 data set is organized in 1 file per day, containing housekeeping and counting rate information (~ 2.6 megabyte per day) together with its detached header file. The distribution medium is CD-ROM. Together with the EPHIN/COSTEP data set one CD-ROM is produced per month. 

CAVEAT:
Due to detector noise problems which started shortly after switch-on, the

instrumental background rate is high and careful analysis is required!

Data File: 

	File Contents
	Name Convention

	LION housekeeping and counting rates
	LIxyydoy.SL2    1995 - 1999: x=O    since 2000: x=P


Detached Header File:

	File Contents
	Name Convention

	File header for data file
	LIxyydoy.MS2    1995 - 1999: x=O    since 2000: x=P


· Housekeeping data are given in physical units.

· Counting rates are given as intensities in units of counts/cm2 s sr MeV, a subset of counting rates (called event counts) is given as counting rates in units of counts/s. The factors which were used to convert counting rates into intensities are given in chapter 4.

· Time resolution is 15 seconds (exact accumulation period is 14.988 seconds).

2.
Data Format Description

2.1
Housekeeping and counting rates file: LIxyydoy.SL2
One LION data set consists of 5 records: one housekeeping record and four 15-second counting rate records, thus covering 1 minute. Housekeeping parameters alternate from minute to minute between a valid reading and a zero ( = invalid) reading.

First record:

	Item
	Label
	Data Type
	Data Contents
	Units

	1

2

3
	PB5 Year

DOY

MS
	integer

integer

integer
	year

day of year

milliseconds of day
	year  4 digits

day   1 ... 366

ms    0 ... 86,400,000

	4
	S / C Epoch
	float (double)
	ms since year 0
	ms    14 digits

	5

6
	Ground potential

Ground potential
	float

float
	0.

0.
	GND1

GND2
	mV

mV

	7

8
	Bias current

Bias current
	float

float
	CurT1D2

CurT2D2
	0.

0.
	nA

nA

	9

10
	Reference voltage

Reference voltage
	float

float
	0.

0.
	Ref1

Ref2 
	mV

mV

	11

12
	Power rail current

Power rail current
	float

float
	Cur+5V

Cur+6V
	0.

0.
	mA

mA

	13

14
	Bias current

Bias current
	float

float
	0.

0.
	CurT1B

CurT2B
	nA

nA

	15

16
	Power rail current

Temperature
	float

float
	Cur-6V

Temp
	0.

0.
	mA

(C

	17

18
	Bias current

Bias current
	float

float
	CurT1D1

CurT2D1
	0.

0.
	nA

nA

	19

20
	Power rail voltage

Power rail voltage
	float

float
	0.

0.
	+6V

+5V
	V

V

	21

22

23

24
	Discriminator threshold

Discriminator threshold

Discriminator threshold

Discriminator threshold
	integer

integer

integer

integer
	1st acquisition period

2nd acquisition period

3rd acquisition period

4th acquisition period
	binary

binary

binary

binary

	25

26

27

28
	Test pulse generator

Test pulse generator

Test pulse generator

Test pulse generator
	integer

integer

integer

integer
	1st acquisition period

2nd acquisition period

3rd acquisition period

4th acquisition period
	binary

binary

binary

binary


Note:
Related to the detector noise problem, the bias current readings in this record are not reliable


and the following housekeeping parameters may show persistently a zero value: items 5, 8, 9,

17, and 19.

Second record:

	Item
	Label
	Data Type
	Data Contents
	Units

	1

2 

3
	Time Tag
	integer

integer

integer
	1st acquisition period
	hour

minute

second

	4

5

6

7
	T2D1  p   300 - 750 keV

T2D1  p  0.75 - 2     MeV

T2D1  p       2 - 6     MeV

T2D1  He    7 - 26    MeV
	float

float

float

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	8

9

10

11
	T2D2  p  300 - 750  keV

T2D2  p   .75 - 2      MeV

T2D2  p      2 - 6      MeV

T2D2  He    7 - 26    MeV
	float 

float

float

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	12

13

14

15
	T2D1  p     40 - 80   keV

T2D1  p     80 - 125 keV

T2D1  p   125 - 200 keV

T2D1  p   200 - 300 keV
	float 

float

float 

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	16

17

18

19
	T2D2  p     40 - 80   keV

T2D2  p     80 - 125 keV

T2D2  p   125 - 200 keV

T2D2  p   200 - 300 keV
	float 

float

float 

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	20

21

22

23
	T1D1 p+e   40 - 80   keV

T1D1 p+e   80 - 125 keV

T1D1 p+e 125 - 200 keV

T1D1 p+e 200 - 300 keV
	float 

float

float 

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	24

25

26

27
	T1D2 p+e   40 - 80   keV

T1D2 p+e   80 - 125 keV

T1D2 p+e 125 - 200 keV

T1D2 p+e 200 - 300 keV
	float 

float

float 

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	28

29

30

31
	T1D1  p    300 - 750 keV

T1D1  p   0.75 - 2    MeV

T1D1  p        2 - 6    MeV

T1D1  He      7 - 26  MeV
	float 

float

float 

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	32

33

34

35
	T1D2  p    300 - 750 keV

T1D2  p   0.75 - 2    MeV

T1D2  p        2 - 6    MeV

T1D2  He      7 - 26  MeV
	float 

float

float 

float
	intensity

intensity

intensity

intensity
	/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

/cm2 s sr MeV

	36

37

38

39

40

41

42
	T1D1 Event Counts

T2D1 Event Counts

T1D2 Event Counts

T2D2 Event Counts 

T1B   Event Counts

T2B   Event Counts

Spare
	float 

float

float 

float

float

float
	single detec. channel

single detec. channel

single detec. channel

single detec. channel

single detec. channel

single detec. channel
	counts/s

counts/s

counts/s

counts/s

counts/s

counts/s


Third record:

	Item
	Label
	Data Type
	Data Contents
	Units

	1

2 

3
	Time Tag
	integer

integer

integer
	2nd acquisition period
	hour

minute

second

	4 - 42
	see second record


Fourth record:

	Item
	Label
	Data Type
	Data Contents
	Units

	1

2 

3
	Time Tag
	integer

integer

integer
	3rd acquisition period
	hour

minute

second

	4 – 42
	see second record


Fifth record:

	Item
	Label
	Data Type
	Data Contents
	Units

	1

2 

3
	Time Tag
	integer

integer

integer
	4th acquisition period
	hour

minute

second

	4 - 42
	see second record


2.2
Header for HK and counting rates file: LIxyydoy.MS2
Example:

St. Patrick`s College, Maynooth, Ireland

Department of Experimental Physics

PI: H. Kunow

Program: LL2_2.PRO

Program_Version: 2.0

Data_Version: V01

Project: SOHO-COSTEP

Instrument: LION

Data_Type: H/K-Data and Science-Data (Intensities)

Data_File_Name: LIO96252.SL2

Data_File_Type: ASCII

Generation_Date: Wed Sep 25 16:10:16 1996

Data_Period_Start: 1996-09-08 00:00:38

Data_Period_End  : 1996-09-08 23:59:31

Parameter_File_Name: -

3.
LION Status Word

The LION status word in words 21 - 24 and 25 - 28 of the HK and counting rates file is implemented by hardware in the onboard LION electronics and telemetered to ground. It contains two flags, one to indicate whether the discriminator thresholds have been raised by 10 %, and one to indicate whether the inflight test pulse generator is in operation. These two flags are sampled in each of the 4 accumulation periods. Nominal status is all zero.

	Label
	1st period
	2nd period
	3rd period
	4th period

	Discriminator threshold
	0
	0
	0
	0

	Test pulse generator
	0
	0
	0
	0


4.
LION Intensity Factors

Most part of the Level-2 counting rates are already converted into intensities [counts/(cm2 s sr MeV)] by dividing the counting rates [counts/s] through the intensity factor:


Intensity Factor  =  Geometry Factor  (  Energy Window  [cm2 sr MeV]

	Channel
	Geometry factor
	Energy window
	Intensity factor

	p   or   p+e   or   He
	cm2 sr
	MeV
	cm2 sr MeV

	   40 – 80   keV
	0.174
	0.0374
	0.0065

	   80 – 125 keV
	0.174
	0.0460
	0.0080

	 125 – 200 keV
	0.174
	0.0637
	0.0111

	 200 – 300 keV
	0.174
	0.1158
	0.0201

	 300 – 750 keV
	0.174
	0.4508
	0.0784

	0.75 – 2     MeV
	0.174
	1.229
	0.2138

	     2 – 6     MeV
	0.174
	4.048
	0.704

	     7 – 26   MeV
	0.174
	19.15
	3.33


PAGE  
6

